How to Import a Report into PecStar using PecReport

- Start PecReport in PecStar iEMS.

- Choose Edit Mode.

- Click File -> Import/Export.

- Click Import Report, choose the root folder Report Library, then click Import.

- Choose the report file and click Open.

- Click OK when import successfully. This would be a little difference in description, since we may use different version of PecStar.

- Click Cancel to return to the main window. Now you can check the settings or switch to the Query Mode to view the report.