Procedure for setup PecChart Template
1. Start the PecChart by click on the PecChart icon in windows start menu.

[image: image1.png])l QNS In e Qualty Moni =
U} Kespersky IntemetSecurty 2011
)} Maintenance Ho

U i

U Mi Documents

U i

0 M . Pictures

s e

Uninstll P
0 Client . e

gl Pec

Music

Computer

\ PecEvent Control Panel

Pe,

Devices and Printers

=
3
=

]

Disply DefoutPrograms
i Communication Modsle
) Dotabase Mana . Help and Support

ystem G

Shutdown | * |





2. The following windows will appear. This is the PecChart user interface.
[image: image2.png]UserMomagerl)  Quen(@  Helpld





3. For create PecChart template, please log in the software with user which have authority level of "Change User Diagram". If only view the Chart no need to login.
[image: image3.png]User Manager(U) | Query(@)  Help(H)

 Daily Curve Mont{ = Log off(Q) Ctrl+Q

File(®)  View(V)





[image: image4.png](S

UserNeme: |

Password

v Ok

[% cancel |





4. Select the type of Chart you want to use, in this example Daily Curve is selected.
[image: image5.png]i Chart Analysis L

File®) View(V) UserManager(U) Query(@ Help(H)

x i 1] [ 1] bt

Daily Curve | Monthly Curve Monthly Energy Annual Energy DataLog Curve

Daity Curve J





5. After click on the Daily Curve the following screen will appear. You will see the screen is separate in two parts. On the Left is the setup area and the right is display area.

[image: image6.png]- @ E

7
urve Monthly Energy Annual Energy Datalog Curve | Customize Template Save Close | Backward Current Forward Setup Time Multi-segment Query | Bxit

© Restime. © Maxinasegment  ©) Minina segment ien Data [7] Legend [¥] Point  [] Statisic





6. Right click on the setup area; you will see the following popup menu. In the menu there are four selections 

A. New Chart Group - Open group for more easily manage the Chart.


B. New Chart - Adding a logged parameter that you want to see in the Chart.


C. Modify Source - Modify the added chart; include the parameter and the chart color.


D. Delete Source - Delete added chart.

[image: image7.png]i, Chart Analysis - [Daily Curve)

File(®) View(V) UserManager(U) Query(Q) Help(H)

i 1]

Daily Curve Monthly Curve Monthly Energy Annual Energy Datal

3 New ChartGroup(W) _CirteW.

3 NewChar Ins

Modify Source(X)  CtrbeX
X Delete Source(D) Del





7. Create a new group and add a new chart under this group.
[image: image8.png]File®) View(V) UserManager(U) Query(Q)  Help(H)
% 1] 1]
Daily Curve Monthly Curve Monthly Energy Annual Energy Dat
&[22 Chart Store.

New Chart Group(W)  Ctrl+W.
P
3 NewChart ns

Modify Source()  Ctrl+X

X Delete Source(D) Del




8. Select the parameter you want to read and define the color for this chart.
[image: image9.png]repor oo s

Feport Data Sourcs | Manualy st

£ Sition List.
% System Node
3 63C
@ s3C
IE: 630C_kwa
IE: 630C_kwb.
IE: 630C_kwe.
BE: 630C_kew Total
5 Daiy repot goup of statisics

Curve Name: 630C_kWa

Curve Color: NN Red





9. after configuration will see a new added chat list under the group that you selected.

[image: image10.png]DA 630C_kwa




10. Save the template for complete the chart configuration.
[image: image11.png]il Chart Analysis

File(®) | View®V) UserManager(U) Query(Q)  Help(H)

Open Customized Template(0)  Ctrl+O

]

H soves) Ces |[Energy Datal
BEERT) ctileA

@ Close© AteC

Bt ARt





11. Click Save the following windows will appear and then press "OK" to save.

[image: image12.png]



11. Input a name for this template and press ok to finish the setup.
[image: image13.png]The Dialog for node naming ===





12. A confirmation windows will appear, if you save the template successfully.

[image: image14.png]RptChart

[ Y ————





How to use the customized template

1. Select File at the tools bar and click Open Customized Template.

[image: image15.png]File(F) | View(¥) UserManager(U) Query(Q)  Help(H)

Save(s)
Save as(A)





2. The Customize template list will appear for selecting the template.
[image: image16.png]53 Customized template fbrary
fE]con |





3. The selected template will appear now you can chose parameter that you want to show in chart.
[image: image17.png]art 1 |C=JE00C X

[ B EH& « @ = @ = g

Curve Monthly Energy Annual Energy Datalog Curve | Customize Template Save Close | Backward Current Forwerd Setup Time Multi-segment Query | Exit

© Reatime. © Maxinasegment  ©) Minina segment ien Data [7] Legend [¥] Point  [] Statisic





4. Click the check box in fonrt of the parameter 

[image: image18.png]Daily Curve_Monthly CurveMonthly Energy
CE]
& 3 Growp 1
[ 630C_kwa

O e30c_kwp

OA e30C_kwe





5. The selected chart will appear in the display area.
[image: image19.png]rt Analysi
B Vil UserMonoger®) Quey(@  Help(t)

&

OA e30C_kwe

? &

urve Monthly Curve Monthly Energy Annual Energy DataLog Curve | Customize Template Save Close | Backward Current Forward Setup Time Multi-segment Query | it

© Maxin a segment

42

© Minin a segment

[¥] Legend [¥] Point  [] Statistic.

6/6/2012 Daily Curve

Data
®
1

32 +

28

26 ‘ ‘

6/6/2012 12:00:00 AM

T
6/6/2012 6:00:00 AM

T
6/6/2012 12:00:00 PM

Time

T
6/6/2012 6:00:00 PM

6/7/2012 12:00:00 AM





6. You can enlarge the chart by drag an outline around the area you want to enlarge
[image: image20.png]il Chart Analysis - [Chart
0 Viewd UserManagerl) Quen(@  Helplt)

&[22 Chart Store.
- [ Growp 1

st

? &

urve Monthly Curve Monthly Energy Annual Energy Datalog Curve | Customize Template Save Close | Backward Curent Forward Setup Time Multi-segment Query

Bt

-8

© Maxin a segment

© Mininasegmert [ Legend [7] Port [ Satisic

—=— 630C kWa - 630C kWb —=— 630C_kWc

42

6/6/2012 Daily Curve

40

36

Data
®
|
T

32

30 —

28

26 ‘ ‘

6/6/2012 12:00:00 AM

T
6/6/2012 6:00:00 AM

T
6/6/2012 12:00:00 PM

Time

6/6/2012 6:00:00 PM

6/7/2012 12:00:00 AM





7. The enlarge result is shown as below

[image: image21.png]-8 x

? &

urve Monthly Curve Monthly Energy Annual Energy DataLog Curve | Customize Template Save Close | Backward Current Forward Setup Time Multi-segment Query | it

© Moxhasonert  © Mninasegnert Do TPt s

6/6/2012 Daily Curve

630C_kWa 630C_kWb 630C_kWc
T T u u

36 Bl

Data

30 : Bl

28 4 -

T T T T
6/6/2012 3:00:00 PM 6/6/2012 4:00:00 PM 6/6/2012 5:00:00 PM 6/6/2012 6:00:00 PM

Time





8. It also support raw data export function, click the "View Data" button.

[image: image22.png]o B HE « B = @ = g

g Curve | Customize Template Save Close | Backward Current Forward Setup Time Multi-segment Query | Bt

© Restime. © Maxinasegment  ©) Minina segment Legend [7] Port [T Sufsic

6/7/2012 Dail




9. Double click the parameter that you want to export.

[image: image23.png]



10. Press "Export Data" to save the data in excels.
[image: image24.png].
e e
O
T ae  me s
o 2z aw
sanes ez aw
smam se oz aw
saan ne oz aw
saamne oz aw
saam ze oz aw
sane nw oz aw
san no oz aw
sane ne oz aw
sane ne oz aw
saam 2o oz aw
Zaassoan o ae





